**Reproductive Hazards Guidance**

The following information is intended to provide general guidance on how to safely work with a specific class of chemical or hazard. This information is generic in nature. It addresses the use and handling of substances by hazard class only.

Reproductive hazards are substances which affect the reproductive capabilities including chromosomal damage (mutagens) and effects on the fetus (teratogens). A list of reproductive hazards is attached to this document.

**Securing of gas cylinders**

Not applicable

**Decontamination procedures**

* **Personnel:** Wash hands and arms with soap and water immediately after handling reproductive hazards.
* **Area:** Decontamination procedures vary depending on the material being handled. The toxicity of some materials can be neutralized with other reagents. All surfaces should be wiped with the appropriate cleaning agent following dispensing or handling. Waste materials generated should be treated as hazardous waste.
* **Equipment:** Decontaminate vacuum pumps or other contaminated equipment (glassware) before removing them from the designated area.

**Designated area**

The room sign for the laboratory must contain a *Designated Areas Within* identifier.

All locations within the laboratory where reproductive hazards are handled should be demarcated with designated area caution tape (available from EHRS, the cell center, or chemistry stockroom) and/or posted with designated area caution signs. This includes all fume hoods and bench tops where the reproductive hazards are handled.

Where feasible, reproductive hazards should be manipulated over plastic-backed disposable paper work surfaces. These disposable work surfaces minimize work area contamination and simplify clean up.

**Emergency procedure**

Emergency procedures which address response actions to fires, explosions, spills, injury to staff, should be developed by each laboratory. The procedures should address as a minimum the following:

* **Who to contact:** (University police, Principal investigator of the laboratory including evening phone number, and Office of Environmental Health Safety)
* The location of all safety equipment (showers, eye wash, fire extinguishers, etc.)
* The method used to alert personnel in nearby areas of potential hazards
* The location of all reproductive hazards stored in the laboratory
* Special first aid treatment required by the type of reproductive hazards handled in the laboratory

**Fume hood**

Manipulation of reproductive hazards should be carried out in a fume hood. If the use of a fume hood proves impractical refer to the section on special ventilation.

All areas where reproductive hazards are stored or manipulated must be labeled as a designated area.

**Glove (dry) box**

Certain reproductive hazards must be handled in a glove box rather than a fume hood. The Principal Investigator will determine if this is required. The Office of Environmental Health & Safety is available to provide guidance.

**Hazard assessment**

Hazard assessment should focus on proper handling techniques, education of laboratory workers concerning the health risks posed by reproductive hazards, and the demarcation of designated areas.

**Protective apparel**

Lab coats, closed toed shoes and long sleeved clothing should be worn when handling reproductive hazards. Additional protective clothing should be worn if the possibility of skin contact is likely.

The Principal Investigator/Course Director is responsible to the select the appropriate PPE.

The Office of Environmental Health and Safety is available to provide guidance.

**Eye protection**

Eye protection in the form of safety glasses must be worn at all times when handling reproductive hazards. Ordinary (street) prescription glasses do not provide adequate protection. (Contrary to popular opinion these glasses cannot pass the rigorous test for industrial safety glasses.) Adequate safety glasses must meet the requirements of the American Standard Practice for Occupational and Educational Eye and Face Protection (ANSI/ISEA Z87.1-2010) and must be equipped with side shields. Safety glasses with side shields do not provide adequate protection from splashes; therefore, when the potential for a splash hazard exists other eye protection and/or face protection must be worn.

The Principal Investigator/Course Director is responsible to the select the appropriate PPE.

The Office of Environmental Health and Safety is available to provide guidance.

**Gloves**

Gloves should be worn when handling reproductive hazards. Disposable nitrile gloves provide adequate protection against accidental hand contact with small quantities of most laboratory chemicals.

The Principal Investigator/Course Director is responsible to the select the appropriate chemical resistant glove when direct or prolonged contact with hazardous chemicals is anticipated.

The Office of Environmental Health and Safety is available to provide guidance.

**Safety shielding**

Safety shielding is required any time there is a risk of explosion, splash hazard or a highly exothermic reaction. All manipulations of reproductive hazards which pose this risk should be performed in a fume hood with the sash in the lowest feasible position. Portable shields, which provide protection to all laboratory occupants, are acceptable.

The Principal Investigator/Course Director is responsible to the select the appropriate shielding.

The Office of Environmental Health and Safety is available to provide guidance.

**Eyewash**

Where the eyes or body of any person may be exposed to reproductive hazards, suitable facilities for quick drenching or flushing of the eyes and body shall be provided within the work area for immediate emergency use. Bottle type eyewash stations are not acceptable.

**Safety shower**

A safety or drench shower should be available in a nearby location where the reproductive hazards are used.

**Signs and labels**

* **Doorways:** The room sign must contain a Designated Area Within Caution where carcinogens, reproductive hazards, and/or acutely toxic chemicals are stored or used.
* **Containers:** All water reactive chemicals chemical must be clearly labeled with the correct chemical name, health hazard and CAS#. Handwritten labels are acceptable; chemical formulas and structural formulas are not acceptable. Chemical containers must be dated upon receipt as well as when opened.

**Special storage**

Reproductive hazards must be stored in a designated area.

**Special ventilation**

Manipulation of reproductive hazards outside of a fume hood may require special ventilation controls in order to minimize exposure to the material. Fume hoods provide the best protection against exposure to reproductive hazards in the laboratory and are the preferred ventilation control device. When possible, handle reproductive hazards in a fume hood. If the use of a fume hood proves impractical attempt to work in a glove box or on an isolated area of the bench top.

If available, consider using a Biological Safety Cabinet. The biological safety cabinet is designed to remove particulates (the reproductive hazard) before the air is discharged into the environment. Reproductive hazards that are volatile must not be used in a biological safety cabinet unless the cabinet is vented to the outdoors.

If your research does not permit the handing of reproductive hazards in a fume hood, biological safety cabinet, or glove box, you must contact the Office of Environmental Health and Safety.

All areas where reproductive hazards are stored or manipulated must be labeled as a designated area.

**Spill response**

Anticipate spills by having the appropriate clean up equipment on hand. The appropriate clean up supplies can be determined by consulting the material safety data sheet. This should occur prior to the use of any reproductive hazard.

In the event of a spill alert personnel in the area that a spill has occurred. Do not attempt to handle a spill of reproductive hazards. Vacate the laboratory immediately and call for assistance.

* University Police 856-256-4911. This is a 24 hour service.
* Office of Environmental Health & Safety 856-256-5105 or [ehs@rowan.edu](mailto:ehs@rowan.edu)

Remain on the scene, but at a safe distance, to receive and direct safety personnel when they arrive.

**Vacuum protection**

Evacuated glassware can implode and eject flying glass, and splattered chemicals. Vacuum work involving reproductive hazards must be conducted in a fume hood, glove box or isolated in an acceptable manner.

Mechanical vacuum pumps must be protected using cold traps and, where appropriate, filtered to prevent particulate release. The exhaust for the pumps must be vented into an exhaust hood.

**Waste disposal**

All materials contaminated with reproductive hazards should be disposed of as a hazardous waste. Questions regarding waste pick up should be directed to the Office of Environmental Health and Safety at 856-256-5105 or [EHS@Rowan.edu](mailto:EHS@Rowan.edu). This office can also assist you in minimizing waste generation.

LIST OF REPRODUCTIVE HAZARDS

The list is provided as a guide and is not all inclusive. Review Safety Data Sheets

| **Name** | **CAS#** |  | **Name** | **CAS#** |
| --- | --- | --- | --- | --- |
| Acetaldehyde | 75-07-0 |  | Hydrazine(s) | 302-01-2 |
| Arsenic | 7440-38-2 |  | Hexafluoroacetone | 684-16-2 |
| Aniline | 62-53-3 |  | Halothane | 151-67-7 |
| Aflatoxins |  |  | Karathane | 131-72-6 |
| Benzene | 71-43-2 |  | Lead (inorganic compounds) | 7439-92-1 |
| Benzo(a)pyrene | 50-32-8 |  | 2-Methoxyethanol | 109-86-4 |
| Carbon disulfide | 75-15-0 |  | 2-Methoxyethyl acetate | 110-49-6 |
| Chloroform | 67-66-3 |  | Methyl chloride | 74-87-3 |
| Chloroprene | 126-99-8 |  | N-Methyl-2-pyrrolidone | 872-50-4 |
| Dimethyl formamide | 68-12-2 |  | Propylene glycol monomethyl ether | 107-98-2 |
| Di-sec-octyl-phthalate | 117-81-7 |  | Propylene glycol monomethyl ether acetate | 108-65-6 |
| Dinitrooctyl phenol | 63149-81-5 |  | Propylene oxide | 75-56-9 |
| Dithane | 111-54-6 |  | Trichloroethylene | 79-01-6 |
| 2-Ethoxy ethanol | 110-80-5 |  | RH-7592 |  |
| 2-Ethoxyethyl acetate | 111-15-9v |  | Systhane/RH-3866 | 88671-89-0 |
| Ethylene thiourea | 96-45-7 |  | TOK (herbicide) | 1836-75-5 |
| 2-Ethyhexanol | 104-76-7 |  | Toluene | 108-88-3 |
| Glycol ethers |  |  | Vinyl chloride | 75-01-4 |