## Filters
INSTRUCTIONS: Enter cost per unit in "Column J" (highlighted in gold). The Total field, "Column K", will autopopulate.
Rowan University Campus-Wide Pre and Final Filter Inventory
Building | Unit # | Filter Type | Size |  |  |  |  | Qty | Cost per Unit | Total
Bole Administration | President's AC | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Bole Administration | ahu1 | Tri Pleat Ultra LE MERV 9 | 12 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LE MERV 9 | 20 | x | 24 | x | 2 | 8 |  | 0
|  | Ultra 4 sh MERV 14 | 12 | x | 24 | x | 4 | 4 |  | 0
|  | Utra 4 sh MERV 14 | 20 | x | 24 | x | 4 | 8 |  | 0
Bole Administration | ahu2 | Tri Pleat Ultra LE MERV 9 | 24 | x | 24 | x | 2 | 2 |  | 0
|  | Utra 4 sh MERV 14 | 24 | x | 24 | x | 4 | 2 |  | 0
Bole Annex | ahu1 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 2 |  | 0
Bole Annex | ahu2 | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 6 |  | 0
Bole Annex | ahu3 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 2 |  | 0
Bole Annex | ahu4 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 2 |  | 0
Bole Annex | fancoil | Tri Pleat Green MERV 13 | 8 | x | 25 | x | 1 | 21 |  | 0
Bole Annex | fancoil | Tri Pleat Green MERV 13 | 8 | x | 32 | x | 1 | 3 |  | 0
Bole Annex | fancoil | Tri Pleat Green MERV 13 | 8 | x | 44 | x | 1 | 6 |  | 0
Bozorth | ahu 1 pump room | Tri Pleat Green MERV 13 | 16 | x | 24 | x | 2 | 6 |  | 0
Bozorth | ahu 2 roof | Tri Pleat Ultra LE MERV 9 | 16 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LE MERV 9 | 16 | x | 25 | x | 2 | 2 |  | 0
|  | Ultra 4 nh MERV 13 | 16 | x | 20 | x | 4 | 4 |  | 0
|  | Ultra 4 nh MERV 13 | 16 | x | 25 | x | 4 | 2 |  | 0
Bozorth | ahu5 | Tri Pleat Ultra LE MERV 9 | 12 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LE MERV 9 | 20 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 12 | x | 20 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 8 |  | 0
Bozorth | ahu7 | Tri Pleat Ultra LE MERV 9 | 12 | x | 20 | x | 2 | 3 |  | 0
|  | Tri Pleat Ultra LE MERV 9 | 20 | x | 20 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 12 | x | 20 | x | 6 | 3 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 4 |  | 0
Bozorth | ceiling unit | Tri Pleat Green MERV 13 | 16 | x | 16 | x | 2 | 2 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 6.75 | x | 25.75 | x | 1 | 4 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 8.75 | x | 21.5 | x | 1 | 7 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 8.75 | x | 32.25 | x | 1 | 3 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 8.75 | x | 42.75 | x | 1 | 3 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 9.75 | x | 36.5 | x | 1 | 1 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 9.75 | x | 48.5 | x | 1 | 2 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 9.75 | x | 60.5 | x | 1 | 6 |  | 0
Bozorth | fancoil units | Tri Pleat Green MERV 13 | 9.75 | x | 72.5 | x | 1 | 1 |  | 0
Bunce | ahu1 | Tri Pleat Green MERV 13 | 15.5 | x | 18 | x | 2 | 3 |  | 0
|  | Tri Pleat Green MERV 13 | 19 | x | 19.5 | x | 2 | 3 |  | 0
Bunce | ahu2 | Tri Pleat Green MERV 13 | 16 | x | 16 | x | 2 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 4 |  | 0
Bunce | ahu3 | Tri Pleat Green MERV 13 | 20 | x | 30 | x | 2 | 1 |  | 0
Bunce | ahu4 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Bunce | ahu5 | Tri Pleat Green MERV 13 | 15.5 | x | 18 | x | 2 | 3 |  | 0
|  | Tri Pleat Green MERV 13 | 19 | x | 19.5 | x | 2 | 3 |  | 0
Bunce | ahu6 | Tri Pleat Green MERV 13 | 16 | x | 16 | x | 2 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 4 |  | 0
Bunce | ahu7 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 8 |  | 0
Bunce | ahu8 | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 8 |  | 0
Bunce | ahu9 | Tri Pleat Green MERV 13 | 16 | x | 16 | x | 2 | 24 |  | 0
Bunce | ahu10 | Tri Pleat Green MERV 13 | 15.5 | x | 18 | x | 2 | 2 |  | 0
|  | Tri Pleat Green MERV 13 | 18 | x | 19.5 | x | 2 | 1 |  | 0
Bunce | ahu11 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 3 |  | 0
Business | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 5 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 15 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 15 |  | 0
Business | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 16 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 24 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 16 |  | 0
Business | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 8 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 20 | x | 6 | 8 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 24 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 24 | x | 6 | 8 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 4 |  | 0
Business | FCU 2,4,5 | Tri Pleat Green MERV 13 | 9 | x | 21.5 | x | 1 | 3 |  | 0
Business | FCU | Tri Pleat Green MERV 13 | 9 | x | 26.75 | x | 1 | 2 |  | 0
Business | FCU 1 | Tri Pleat Green MERV 13 | 9 | x | 54.75 | x | 1 | 1 |  | 0
Business | FCU 6,7,81 | Tri Pleat Green MERV 13 | 9.5 | x | 33 | x | 1 | 1 |  | 0
Business | FCU 3 | Tri Pleat Green MERV 13 | 9.5 | x | 38 | x | 1 | 1 |  | 0
Carriage House | unit ` | Tri Pleat Green MERV 13 | 20 | x | 24 | x | 1 | 1 |  | 0
Cassady Complex | rtu1 | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 2 | 6 |  | 0
Cassady Complex | rtu2 | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 2 | 6 |  | 0
Cassady Complex | auto shop | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 1 |  | 0
Cassady Complex | carpenter shop 1 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 1 |  | 0
Cassady Complex | carpenter shop 2 | Tri Pleat Green MERV 13 | 24 | x | 24 | x | 1 | 2 |  | 0
Cassady Complex | carpenter shop 3 | Tri Pleat Green MERV 13 | 12 | x | 24 | x | 1 | 1 |  | 0
Cassady Complex | hallway | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
Chestunut | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Chestunut | ahu2 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 6 |  | 0
Chestunut | new unit | Tri Pleat Green MERV 13 | 15.5 | x | 29.5 | x | 2 | 1 |  | 0
Chestunut | room unit | Tri Pleat Green MERV 13 | 7.25 | x | 35 | x | 1 | 216 |  | 0
Chestunut | room unit | Tri Pleat Green MERV 13 | 9.25 | x | 35 | x | 1 | 162 |  | 0
Chestunut | room unit | Tri Pleat Green MERV 13 | 11.25 | x | 35.5 | x | 1 | 18 |  | 0
Chestunut | end room | Tri Pleat Green MERV 13 | 9.75 | x | 45.5 | x | 1 | 12 |  | 0
Chilled Water Plant | CUH 1,2 | Tri Pleat Green MERV 13 | 8.75 | x | 24.75 | x | 1 | 2 |  | 0
Chilled Water Plant | FCU 1 rm 113 | Tri Pleat Green MERV 13 | 9.5 | x | 59.75 | x | 1 | 1 |  | 0
Chilled Water Plant | FCU 2,3,12 | Tri Pleat Green MERV 13 | 9.5 | x | 35.75 | x | 1 | 3 |  | 0
Chilled Water Plant | FCU 4 rm 109 | Tri Pleat Green MERV 13 | 17.5 | x | 17.5 | x | 1 | 2 |  | 0
Chilled Water Plant | FCU 5 | Tri Pleat Green MERV 13 | 9.5 | x | 26.5 | x | 1 | 1 |  | 0
Chilled Water Plant | FCU 11 | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 1 | 1 |  | 0
Chilled Water Plant | FCU 14 hallway | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 1 |  | 0
Chilled Water Plant | FCU 15 | Tri Pleat Green MERV 13 | 7.75 | x | 34.75 | x | 1 | 1 |  | 0
Chilled Water Plant | roof unit | Tri Pleat Green MERV 13 Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 4 |  | 0
Chilled Water Plant | vfd | Tri Pleat Green MERV 13 | 11.5 | x | 27.5 | x | 1 | 10 |  | 0
Discovery Hall | RTU-1 | Pleated pre-filters MERV 8 | 24 | x | 24 | x | 2 | 35 |  | 0
| RTU-1 | Pleated final filters MERV 14 | 24 | x | 24 | x | 12 | 35 |  | 0
| RTU-2 | Pleated pre-filters MERV 8 | 24 | x | 24 | x | 2 | 9 |  | 0
| RTU-2 | Pleated final filters MERV 14 | 24 | x | 24 | x | 2 | 9 |  | 0
| Energy Recovery | Pleated MERV 10 | 24 | x | 24 | x | 2 | 16 |  | 0
| FCU's | Pleated MERV 13 | 8.875 | x | 19.5 | x | 1 | 7 |  | 0
Education Hall (James) | ahu1 north | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 12 | x | 6 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Education Hall (James) | ahu2 north | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 12 | x | 6 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Education Hall (James) | ahu1 south | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 12 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 12 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Education Hall (James) | ahu2 south | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 12 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 12 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 7 | x | 18.25 | x | 1 | 1 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 8 | x | 44 | x | 1 | 6 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 8 | x | 60 | x | 1 | 6 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 8.75 | x | 18.75 | x | 1 | 4 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 9 | x | 18.5 | x | 1 | 1 |  | 0
Education Hall (James) | FCU | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 3 |  | 0
Education Hall (James) | FCU 3 | Tri Pleat Green MERV 13 | 15.75 | x | 44.75 | x | 1 | 1 |  | 0
Ellis Street Grounds | ahu | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 2 |  | 0
EPA | room units | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 1 | 96 |  | 0
Girard House | unit 1 | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 1 | 1 |  | 0
Girard House | unit 2 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
Green House | unit1 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 1 | 1 |  | 0
Green House | unit2 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 1 | 1 |  | 0
Gym (Esby) | unit 1 penthouse | Tri Pleat Green MERV 13 | 16 | x | 24 | x | 2 | 12 |  | 0
Gym (Esby) | unit 2 penthouse | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 4 |  | 0
Gym (Esby) | unit 3 penthouse | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Gym (Esby) | unit 4 penthouse | Tri Pleat Green MERV 13 | 18 | x | 20 | x | 2 | 20 |  | 0
Gym (Esby) | unit 5 penthouse | Tri Pleat Green MERV 13 | 15.5 | x | 22 | x | 2 | 4 |  | 0
Gym (Esby) | unit 6 penthouse | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 6 |  | 0
Gym (Esby) | ahu7 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
Gym (Esby) | office | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 4 |  | 0
Gym (Esby) | ac27 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 1 |  | 0
Gym (Esby) | locker room | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 1 |  | 0
Gym (Esby) | tape room | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 2 |  | 0
Gym (Esby) | room 100 | Tri Pleat Green MERV 13 | 7.25 | x | 30.75 | x | 1 | 1 |  | 0
Gym (Esby) | room 101 | Tri Pleat Green MERV 13 | 6.75 | x | 30.25 | x | 1 | 1 |  | 0
Gym (Esby) | weight room 1,2 | Tri Pleat Green MERV 13 | 20 | x | 30 | x | 1 | 2 |  | 0
Hawthorne | basement ahu | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 2 |  | 0
Hawthorne | rooms | Tri Pleat Green MERV 13 | 9.75 | x | 44 | x | 1 | 30 |  | 0
Hawthorne | nesbitt | Tri Pleat Green MERV 13 | 7.75 | x | 72.75 | x | 1 | 5 |  | 0
Hawthorne | FCU | Tri Pleat Green MERV 13 | 9 | x | 24 | x | 1 | 4 |  | 0
Holly Bush | FCU 1-11 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 11 |  | 0
Holly Bush | erv1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 2 |  | 0
International House | unit | Tri Pleat Green MERV 13 | 14.75 | x | 23.75 | x | 1 | 2 |  | 0
International House | unit | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
International Garage | unit | Tri Pleat Green MERV 13 | 14 | x | 20 | x | 1 | 1 |  | 0
Laurel | hallway | Tri Pleat Green MERV 13 | 8 | x | 26 | x | 1 | 8 |  | 0
Laurel | FCU | Tri Pleat Green MERV 13 | 8 | x | 40.5 | x | 1 | 36 |  | 0
Laurel | FCU | Tri Pleat Green MERV 13 | 8 | x | 48 | x | 1 | 4 |  | 0
Laurel | FCU | Tri Pleat Green MERV 13 | 10 | x | 26.75 | x | 1 | 8 |  | 0
Laurel | basement ahu1,2 | Tri Pleat Green MERV 13 | 15.5 | x | 34 | x | 2 | 4 |  | 0
Library | ah1 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 12 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 6 |  | 0
Library | ah2 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 1 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 1 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 5 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Library | ah3 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 12 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 6 |  | 0
Library | 1st floor ac1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 4 | 3 |  | 0
Library | 1st floor ac2 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 4 | 3 |  | 0
Library | 4th floor | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Library | ahu 4 - 5th floor | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 25 | x | 2 | 6 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 16 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 20 | x | 20 | x | 6 | 6 |  | 0
Library | 6th floor | Tri Pleat Green MERV 13 | 23 | x | 24.5 | x | 2 | 3 |  | 0
Magnolia | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 6 |  | 0
Magnolia | room unit | Tri Pleat Green MERV 13 | 7.25 | x | 35 | x | 1 | 66 |  | 0
Magnolia | room unit | Tri Pleat Green MERV 13 | 9 | x | 35 | x | 1 | 40 |  | 0
Magnolia | room unit | Tri Pleat Green MERV 13 | 11.25 | x | 35.5 | x | 1 | 10 |  | 0
Memorial | ahu1 | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 12 |  | 0
Memorial | ahu2 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 3 |  | 0
Memorial | ahu3 | Tri Pleat Green MERV 13 | 15.5 | x | 22.5 | x | 2 | 3 |  | 0
|  | Tri Pleat Green MERV 13 | 19.5 | x | 22.5 | x | 2 | 3 |  | 0
Memorial | ahu4 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Memorial | ahu5 | Tri Pleat Green MERV 13 | 18 | x | 25 | x | 2 | 10 |  | 0
Memorial | ahu6 | Tri Pleat Green MERV 13 | 18 | x | 25 | x | 2 | 10 |  | 0
Memorial | hv3 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 2 |  | 0
Mimosa | lounge | Tri Pleat Green MERV 13 | 7 | x | 64.75 | x | 1 | 1 |  | 0
Oak | hallway | Tri Pleat Green MERV 13 | 8 | x | 26 | x | 1 | 8 |  | 0
Oak | room units | Tri Pleat Green MERV 13 | 8 | x | 40.5 | x | 1 | 36 |  | 0
Oak | room units | Tri Pleat Green MERV 13 | 8 | x | 48 | x | 1 | 4 |  | 0
Oak | stairwell | Tri Pleat Green MERV 13 | 10.25 | x | 26.75 | x | 1 | 8 |  | 0
Oak | basement ahu1,2 | Tri Pleat Green MERV 13 | 15.5 | x | 34 | x | 2 | 4 |  | 0
Rec Center | hvac1 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 4 |  | 0
Rec Center | hvac2 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 4 |  | 0
Rec Center | hvac3 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 4 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 7.75 | x | 43.75 | x | 1 | 2 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 8 | x | 42.5 | x | 1 | 2 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 14.75 | x | 23.75 | x | 1 | 12 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 16 | x | 30 | x | 1 | 18 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 17.5 | x | 17.5 | x | 1 | 1 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 1 | 1 |  | 0
Rec Center | FCU | Tri Pleat Green MERV 13 | 19.75 | x | 27.75 | x | 1 | 12 |  | 0
Robinson | ahu1 | Tri Pleat Green MERV 13 | 24 | x | 24 | x | 2 | 35 |  | 0
Robinson | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 15 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 12 | x | 6 | 5 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 15 |  | 0
Robinson | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 6 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 12 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 12 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 4 |  | 0
Robinson | stairwell | Tri Pleat Green MERV 13 | 8.25 | x | 43.25 | x | 1 | 6 |  | 0
ROTC | oil furnace | Tri Pleat Green MERV 13 | 18 | x | 25 | x | 1 | 1 |  | 0
Rowan Hall | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 30 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 10 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 30 |  | 0
Rowan Hall | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 24 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 24 |  | 0
Rowan Hall | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 4 |  | 0
Rowan Hall | FCU | Tri Pleat Green MERV 13 | 11.75 | x | 44.75 | x | 1 | 2 |  | 0
Rowan Hall | FCU | Tri Pleat Green MERV 13 | 11.75 | x | 56.25 | x | 1 | 2 |  | 0
Rowan Hall | FCU | Tri Pleat Green MERV 13 | 8.75 | x | 26.75 | x | 1 | 2 |  | 0
Rowan Hall | FCU | Tri Pleat Green MERV 13 | 7.75 | x | 43.75 | x | 1 | 3 |  | 0
Rowan Engineering New Wing | ahu 1.1 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 16 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 16 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 12 |  | 0
Rowan Engineering New Wing | ahu 1.2 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 16 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 16 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 12 |  | 0
Rowan Engineering New Wing | ahu 1.3 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 16 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 16 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 12 |  | 0
Rowan Engineering New Wing | ahu 2.1 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 12 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 12 |  | 0
Rowan Engineering New Wing | ahu 2.2 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 12 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 12 |  | 0
Rowan Engineering New Wing | exhaust | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 12 | x | 24 | x | 4 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 24 | x | 24 | x | 4 | 4 |  | 0
Rowan Engineering New Wing | plumbing | Tri Pleat Green MERV 13 | 8 | x | 68.75 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | mechanical 1 | Tri Pleat Green MERV 13 | 15 | x | 43.25 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | main emergency | Tri Pleat Green MERV 13 | 8 | x | 67.25 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | main emergency | Tri Pleat Green MERV 13 | 8.25 | x | 59.75 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | door way 2,3 | Tri Pleat Green MERV 13 | 9 | x | 31.5 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | 3 bridge | Tri Pleat Green MERV 13 | 15.75 | x | 31.75 | x | 1 | 4 |  | 0
Rowan Engineering New Wing | data room | Tri Pleat Green MERV 13 | 8.25 | x | 29.5 | x | 1 | 1 |  | 0
Rowan Engineering New Wing | data room | Tri Pleat Green MERV 13 | 8.5 | x | 29.75 | x | 1 | 3 |  | 0
Rowan Engineering New Wing | 4th floor | Tri Pleat Green MERV 13 | 9 | x | 47 | x | 1 | 3 |  | 0
Savitz | ahu 1 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 10 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 5 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 10 |  | 0
Savitz | ahu 2 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 32 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 32 |  | 0
Savitz | ahu 3 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 32 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 32 |  | 0
Savitz | stairwell | Tri Pleat Green MERV 13 | 8.75 | x | 23.75 | x | 1 | 5 |  | 0
Science Hall | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 40 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 45 |  | 0
Science Hall | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 40 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 45 |  | 0
Science Hall | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 40 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 45 |  | 0
Science Hall | ahu4 | Tri Pleat Ultra LX8LE MERV 9 | 16 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pure MPX High Cap 99.97% | 30 | x | 30 | x | 11.5 | 2 |  | 0
Science Hall | ahu5 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 12 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 12 |  | 0
Science Hall | ahu6 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 20 | x | 2 | 3 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 3 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 12 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 3 |  | 0
Science Hall | 4th floor fancoil | Tri Pleat Green MERV 13 | 11.75 | x | 43.75 | x | 1 | 1 |  | 0
Science Hall | animal room | Tri Pleat Green MERV 13 | 9 | x | 15.75 | x | 1 | 1 |  | 0
Science Hall | Entry by the Planetarium | Tri Pleat Green MERV 13 | 8.5 | x | 21 | x | 1 | 1 |  | 0
Science Hall | FCU | Tri Pleat Green MERV 13 | 9.75 | x | 29.75 | x | 1 | 6 |  | 0
Science Hall | FCU | Tri Pleat Green MERV 13 | 9.75 | x | 59.75 | x | 1 | 1 |  | 0
Science Hall | FCU | Tri Pleat Green MERV 13 | 12 | x | 20 | x | 1 | 1 |  | 0
Science Hall | FCU | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 1 | 1 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 18 | x | 18 | x | 1 | 4 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 18 | x | 20 | x | 1 | 3 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 1 | 10 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 12 | x | 20 | x | 1 | 2 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 25 | x | 25 | x | 1 | 2 |  | 0
Shpeen | 1st floor | Tri Pleat Green MERV 13 | 24 | x | 20 | x | 1 | 3 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 18 | x | 18 | x | 1 | 10 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 18 | x | 20 | x | 1 | 1 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 1 | 9 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 12 | x | 20 | x | 1 | 4 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 2 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 25 | x | 25 | x | 1 | 2 |  | 0
Shpeen | 2nd floor | Tri Pleat Green MERV 13 | 24 | x | 20 | x | 1 | 1 |  | 0
Shpeen | 3rd floor | Tri Pleat Green MERV 13 | 18 | x | 18 | x | 1 | 8 |  | 0
Shpeen | 3rd floor | Tri Pleat Green MERV 13 | 18 | x | 24 | x | 1 | 14 |  | 0
Shpeen | 3rd floor | Tri Pleat Green MERV 13 | 12 | x | 20 | x | 1 | 4 |  | 0
Shpeen | 3rd floor | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 2 |  | 0
Shpeen | 3rd floor | Tri Pleat Green MERV 13 | 25 | x | 25 | x | 1 | 2 |  | 0
SOM Academic | AHU1 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 72 | x | 75 | 4
SOM Academic | AHU2 | MERV 8 3-Ply Poly Ring Link Filter | 20 | x | 60 | x |  | 2
SOM Academic | AHU3 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 64 | x |  | 4
SOM Academic | AHU4 | MERV 8 3-Ply Poly Ring Link Filter | 20 | x | 60 | x |  | 2
SOM Academic | AHU5 | MERV 8 3-Ply Poly Ring Link Filter | 20 | x | 90 | x | 96 | 4
SOM Academic | AHU6 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 72 | x |  | 4
SOM Academic | AHU7 | MERV 8 3-Ply Poly Ring Link Filter | 25 | x | 100 | x |  | 4
SOM Academic | AHU8 | MERV 8 3-Ply Poly Ring Link Filter | 25 | x | 129 | x |  | 6
SOM Academic | AHU9 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 72 | x |  | 4
SOM Academic | AHU10 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 40 | x |  | 4
SOM Academic | AHU11 | MERV 8 3-Ply Poly Ring Link Filter | 16 | x | 27 | x | 0.25 | 2
SOM Academic | AHU12 | MERV 8 3-Ply Poly Ring Link Filter | 20 | x | 45 | x |  | 2
SOM Academic | HRU | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 96 | x |  | 2
SOM Academic | HRU | Poly Filter Media Pad | 48 | x | 114 | x |  | 2
SOM Science | AHU1 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 120 | x | 126 | 2
SOM Science | AHU2 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 120 | x | 126 | 2
SOM Science | AHU3 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 90 | x | 96 | 2
SOM Science | AHU3 | 85% 6 Pocket Polyester Bag Filter | 20 | x | 24 | x | 22 | 2
SOM Science | AHU3 | 85% 6 Pocket Polyester Bag Filter | 20 | x | 24 | x | 22 | 6
SOM Science | AHU4 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 120 | x | 126 | 4
SOM Science | AHU5 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 120 | x | 126 | 4
SOM Science | AHU6 | MERV 8 3-Ply Poly Ring Link Filter | 12 | x | 120 | x | 126 | 1
SOM Science | AHU6 | MERV 8 3-Ply Poly Ring Link Filter | 24 | x | 120 | x | 126 | 3
SOM Science | AHU7 | 85% 6 Pocket Polyester Bag Filter | 24 | x | 24 | x | 22 | 16
SOM Science | Fume hood 1 | MERV 8 3-Ply Poly Ring Panel Filter |  | x |  | x |  | 1 | Custom
SOM Science | Fume hood 2 | MERV 8 3-Ply Poly Ring Panel Filter |  | x |  | x |  | 1 | Custom
SOM RMC | MUA1 | MERV 13 Pleated Filter | 20 | x | 25 | x | 2 | 10
SOM RMC | MUA2 | MERV 13 Pleated Filter | 20 | x | 25 | x | 2 | 6
SOM RMC | MUA3 | MERV 13 Pleated Filter | 18 | x | 25 | x | 2 | 12
SOM RMC | RTU1 | MERV 13 Pleated Filter | 18 | x | 25 | x | 2 | 3
SOM UEC | RTU1 | MERV 8 3-Ply Poly Ring Panel Filter | 24 | x | 54 | x | 57 | 2
SOM UEC | RTU2 | MERV 8 3-Ply Poly Ring Panel Filter | 24 | x | 54 | x | 57 | 2
SSVM | AHU5-3 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 25 |  | 0
SSVM | AHU5-3 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 25
SSVM | AHU5-2 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 11
SSVM | AHU5-2 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 30
SSVM | AHU5-2 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 30
SSVM | AHU5-2 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 11
SSVM | AHU5-1 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 30
SSVM | AHU5-1 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 11
SSVM | AHU5-1 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 30
SSVM | AHU5-1 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 11
SSVM | Boiler 1-5 | Pleated MERV 11 Filter | 20 | x | 20 | x | 5 | 20
SSVM | FCU 5010A | Pleated MERV 10 Filter | 15 | x | 24 | x | 2 | 3
SSVM | FCU 5010B | Pleated MERV 10 Filter | 15 | x | 24 | x | 2 | 3
SSVM | FCU 5026 | Pleated MERV 10 Filter | 15 | x | 24 | x | 2 | 3
SSVM | AHU2-3 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 12
SSVM | AHU2-3 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 4
SSVM | AHU2-3 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 12
SSVM | AHU2-3 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 4
SSVM | AHU2-1 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 16
SSVM | AHU2-1 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 4
SSVM | AHU2-1 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 16
SSVM | AHU2-1 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 4
SSVM | AHU2-2 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 16
SSVM | AHU2-2 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 4
SSVM | AHU2-2 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 16
SSVM | AHU2-2 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 4
SSVM | AHU2-5 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 6
SSVM | AHU2-5 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 3
SSVM | AHU2-5 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 6
SSVM | AHU2-5 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 3
SSVM | AHU2-6 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 6
SSVM | AHU2-6 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 3
SSVM | AHU2-6 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 6
SSVM | AHU2-6 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 3
SSVM | AHU2-4 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 12
SSVM | AHU2-4 | Pleated MERV 10 Filter | 12 | x | 24 | x | 2 | 4
SSVM | AHU2-4 | 95% Single Header ASHRAE Aluminum Separator Filter | 24 | x | 24 | x | 12 | 12
SSVM | AHU2-4 | 95% Single Header ASHRAE Aluminum Separator Filter | 12 | x | 24 | x | 12 | 4
SSVM | MISC | Polyester Filter Media Roll | 48 | x | 90 | x | 1 | 2
SSVM | FCU2-1 | Pleated MERV 10 Filter | 20 | x | 25 | x | 2 | 3
SSVM | FCU2-2 | Pleated MERV 10 Filter | 20 | x | 25 | x | 2 | 3
SSVM | FCU2-3 | Pleated MERV 10 Filter | 20 | x | 25 | x | 2 | 3
SSVM | FCU2-4 | Pleated MERV 10 Filter | 20 | x | 25 | x | 2 | 3
SSVM | HR1 | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 1
SSVM | BCU1-1 | Pleated MERV 10 Filter | 20 | x | 24 | x | 2 | 3
SSVM | BCU1-2 | Pleated MERV 10 Filter | 20 | x | 24 | x | 2 | 3
SSVM | BCU1-3 | Pleated MERV 10 Filter | 20 | x | 24 | x | 2 | 3
SSVM | BCU1-4 | Pleated MERV 10 Filter | 20 | x | 24 | x | 2 | 3
SSVM | MRI Unit | Pleated MERV 10 Filter | 15 | x | 20 | x | 2 | 2
SSVM | Mech rm coil units | Pleated MERV 10 Filter | 24 | x | 24 | x | 2 | 36
Student Center | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 8 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 16 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 8 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 16 |  | 0
Student Center | ahu2 | Tri Pleat Green MERV 13 | 24 | x | 24 | x | 2 | 25 |  | 0
Student Center | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 12 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 3 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 12 |  | 0
Student Center | ahu4 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 6 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 6 |  | 0
Student Center | ahu5 | Tri Pleat Green MERV 13 | 15.5 | x | 23 | x | 2 | 3 |  | 0
|  | Tri Pleat Green MERV 13 | 19.5 | x | 23 | x | 2 | 3 |  | 0
Student Center | rtu1 café | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 12 |  | 0
Student Center | rtu2 café | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 12 |  | 0
Student Center | hv2 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 8 |  | 0
Student Center | fan coil | Tri Pleat Green MERV 13 | 8.75 | x | 19 | x | 1 | 1 |  | 0
Team House | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 1 |  | 0
Team House | ahu2 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 1 |  | 0
Team House | heating unit | Tri Pleat Green MERV 13 | 9.5 | x | 21.75 | x | 1 | 6 |  | 0
Team House | heating unit | Tri Pleat Green MERV 13 | 9.5 | x | 27.75 | x | 1 | 2 |  | 0
Team House | ahu1 (inside) | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 6 |  | 0
Team House | Trane unit | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 1 |  | 0
Team House | rtu1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Team House | rtu2 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Team House | rtu3 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Team House | rtu4 | Tri Pleat Green MERV 13 | 20 | x | 30 | x | 2 | 2 |  | 0
Tech Park | rtu1 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 17 |  | 0
Tech Park | rtu2 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 35 |  | 0
Tech Park | rtu3 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
Tech Park | rtu4 | Tri Pleat Green MERV 13 | 20 | x | 24 | x | 2 | 9 |  | 0
Tech Park | rtu5 | Tri Pleat Green MERV 13 | 20 | x | 24 | x | 2 | 2 |  | 0
Tech Park | rtu6 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 6 |  | 0
Tech Park | 1st, 2nd floor tower | Tri Pleat Green MERV 13 | 15.5 | x | 37.75 | x | 1 | 2 |  | 0
Tech Park | 1,2 hallway | Tri Pleat Green MERV 13 | 15 | x | 20 | x | 1 | 6 |  | 0
Town House Dorms | 1st floor | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 120 |  | 0
Town House Dorms | 1st floor | Tri Pleat Green MERV 13 | 13 | x | 20.5 | x | 1 | 4 |  | 0
Town House Dorms | 1st floor | Tri Pleat Green MERV 13 | 10 | x | 20 |  | 1 | 8 |  | 0
Town House Community | FCU 1-3 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 4 |  | 0
Town House Community | FCU 4-6 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 1 | 3 |  | 0
Town House Community | data room | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 1 | 3 |  | 0
Town House Community | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 6 |  | 0
Triad | FCU | Tri Pleat Green MERV 13 | 8.75 | x | 26.25 | x | 1 | 53 |  | 0
Triad | FCU | Tri Pleat Green MERV 13 | 8.75 | x | 36.25 | x | 1 | 63 |  | 0
Triad | FCU | Tri Pleat Green MERV 13 | 9 | x | 19.75 | x | 1 | 73 |  | 0
|  | Tri Pleat Green MERV 13 | 9 | x | 25.75 | x | 1 | 73 |  | 0
Triad | FCU | Tri Pleat Green MERV 13 | 9 | x | 56.25 | x | 1 | 83 |  | 0
Triad | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 6 |  | 0
Westby | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu2 | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu3 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu4 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 6 |  | 0
Westby | ahu5 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu6 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu7 | Tri Pleat Green MERV 13 | 18 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu8 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 4 |  | 0
Westby | ahu9 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 4 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 4 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 24 | x | 6 | 4 |  | 0
Westby | ahu10 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 6 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 12 | x | 24 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 24 | x | 6 | 6 |  | 0
Westby | ahu10 (201g) | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 3 |  | 0
Westby | ahu11 (206b) | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 3 |  | 0
Westby | ahu12 (207a) | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 4 |  | 0
Westby | ahu13 (hallway) | Tri Pleat Green MERV 13 | 12 | x | 20 | x | 2 | 2 |  | 0
Westby | ahu14 (207j) | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 4 |  | 0
Westby | ahu15 (202) | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 2 | 1 |  | 0
Westby | ahu16 | Tri Pleat Green MERV 13 | 16.25 | x | 76.75 | 1 | 1 | 1 |  | 0
Westby | ahu17 (219c) | Tri Pleat Green MERV 13 | 16 | x | 25 | x | 2 | 1 |  | 0
Westby | 201g | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 3 |  | 0
Westby | 209t a | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Westby | 209t b | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 2 |  | 0
Westby | classrooms | Tri Pleat Green MERV 13 | 12.75 | x | 53.5 | x | 1 | 1 |  | 0
Westby | classrooms | Tri Pleat Green MERV 13 | 12.75 | x | 42 | x | 1 | 2 |  | 0
Westby | unit 1,2,3 | Tri Pleat Green MERV 13 | 15.75 | x | 43.75 | x | 1 | 3 |  | 0
Westby | unit 4,5,6 | Tri Pleat Green MERV 13 | 12 | x | 24 | x | 1 | 3 |  | 0
Westby | Inside Delivery | [6 empty] | 1 |  | 0
301 High Street (Art Gallery) | rtu1 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
301 High Street (Art Gallery) | rtu2 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
301 High Street (Art Gallery) | rtu3 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
301 High Street (Art Gallery) | rtu4 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
301 High Street (Art Gallery) | rtu5 | Tri Pleat Green MERV 13 | 20 | x | 20 | x | 2 | 4 |  | 0
301 High Street (Art Gallery) | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 3 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 20 | x | 6 | 3 |  | 0
301 High Street (Art Gallery) | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 3 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 20 | x | 6 | 3 |  | 0
WGLS | radio tower | Tri Pleat Ultra LX8LE MERV 9 | 16 | x | 30 | x | 1 | 2 |  | 0
600 Whitney | unit 1 | Tri Pleat Green MERV 13 | 14 | x | 20 | x | 1 | 1 |  | 0
|  | Tri Pleat Green MERV 13 | 16 | x | 20 | x | 1 | 1 |  | 0
Willow | ahu1 | Tri Pleat Green MERV 13 | 20 | x | 25 | x | 2 | 6 |  | 0
Willow | room unit | Tri Pleat Green MERV 13 | 7.25 | x | 35 | x | 1 | 58 |  | 0
Willow | room unit | Tri Pleat Green MERV 13 | 9.25 | x | 35 | x | 1 | 32 |  | 0
Willow | room unit | Tri Pleat Green MERV 13 | 7.25 | x | 35 | x | 1 | 4 |  | 0
Wilson | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 20 | x | 2 | 15 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 20 | x | 24 | x | 2 | 30 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 20 | x | 20 | x | 6 | 15 |  | 0
|  | Tri Cell XLR 80% MERV 13 | 24 | x | 20 | x | 6 | 30 |  | 0
Wilson | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 20 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 20 |  | 0
Wilson | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 20 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 5 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 20 |  | 0
Wilson | ahu4 | Tri Pleat Green MERV 13 | 20 | x | 24 | x | 2 | 4 |  | 0
Wilson | ahu4 | Tri Pleat Green MERV 13 | 20 | x | 16 | x | 2 | 2 |  | 0
Wilson | ahu5 | Tri Pleat Green MERV 13 | 12 | x | 24 | x | 2 | 12 |  | 0
Winans Wellness Center | ahu1 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 12 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 4 |  | 0
Winans Wellness Center | ahu2 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 12 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 4 |  | 0
Winans Wellness Center | ahu3 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 2 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 4 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 12 | x | 6 | 2 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 4 |  | 0
Winans Wellness Center | ahu4 | Tri Pleat Ultra LX8LE MERV 9 | 12 | x | 24 | x | 2 | 1 |  | 0
|  | Tri Pleat Ultra LX8LE MERV 9 | 24 | x | 24 | x | 2 | 1 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 12 | x | 24 | x | 6 | 1 |  | 0
|  | Tri Cell XLR 90% MERV 14 | 24 | x | 24 | x | 6 | 1 |  | 0
Winans Wellness Center | FCU Animal Therapy | Pleated MERV 13 | 12 | x | 20 | x | 1 | 2 |  | 0
| FCU-1 Mechanical Room | Pleated MERV 13 | 10.75 | x | 51 | x | 1 | 1 |  | 0
| FCU-2 Office Room 153 | Pleated MERV 13 | 9.75 | x | 41.25 | x | 1 | 1 |  | 0
33 Pintail Drive | Rental Property | Pleated MERV 13 | 14 | x | 24 | x | 1 | 1 |  | 0
CMSRU | AHU 1A | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
CMSRU | AHU 1B | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
CMSRU | AHU 2A | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 |  | 24 |  | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
CMSRU | AHU 2B | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
CMSRU | AHU 3A | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
0
0
CMSRU | AHU 3B | Tri Dek 4 Ply Panel with Tac | 12 | x | 24 | x |  | 8 |  | 0
|  | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 16 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 8 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 16 |  | 0
0
CMSRU | AHU 4 | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 6 |  | 0
| Rheem5 | Tri Dek 4 Ply Panel | 24 | x | 24 | x | 12 | 6 |  | 0
0
CMSRU | AHU 5 | Tri Dek 4 Ply Panel with Tac | 24 | x | 24 | x |  | 8 |  | 0
| Rheem8 | Tri Dek 4 Ply Panel | 24 | x | 24 | x | 12 | 8 |  | 0
0
CMSRU | Chiller Area | Tri Dek 4 Ply Link | 25 | x | 60 | x |  | 1 |  | 0
0
CMSRU | HV 1 | Tri Pleat LX8LE | 16 | x | 20 | x | 2 | 4 |  | 0
0
CMSRU | HRU 2.1 | Tri Pleat LX8LE | 12 | x | 24 | x | 2 | 5 |  | 0
|  | Tri Pleat LX8LE | 24 | x | 24 | x | 2 | 15 |  | 0
0
CMSRU | HRU 2.2 | Tri Pleat LX8LE | 12 | x | 24 | x | 2 | 7 |  | 0
|  | Tri Pleat LX8LE | 24 | x | 24 | x | 2 | 12 |  | 0
0
CMSRU | HRU 3 | Tri Pleat LX8LE | 12 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat LX8LE | 24 | x | 24 | x | 2 | 12 |  | 0
0
CMSRU | HRU 4 | Tri Pleat LX8LE | 12 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat LX8LE | 24 | x | 24 | x | 2 | 6 |  | 0
|  | #18 Plastic Disposable Carbon | [7 empty] | 0
|  | 11.875X5.635x27.375 | [5 empty] | 30 |  | 0
|  | Tri Pleat LX8LE | 12 | x | 24 | x | 2 | 3 |  | 0
|  | Tri Pleat LX8LE | 24 | x | 24 | x | 2 | 6 |  | 0
0
CMSRU | Liebert Units | Tri Pleat LX8LE | 28.5 | x | 29.5 | x | 2 | 5
CMSRU | Security | Tri Pleat Panel | 9.25 | x | 66 | x |  | 1
CMSRU | Laundry 1st Floor | Tri Pleat LX8LE | 12 | x | 12 | x | 1 | 1
CMSRU | Laundery 6th Floor | Tri Pleat LX8LE | 12 | x | 12 | x | 1 | 1
CMSRU | FCU | Tri Pleat LX8LE | 8.25 | x | 20 | x | 1 | 12
CMSRU | FCU | Tri Pleat LX8LE | 8.25 | x | 25,75 | x | 1 | 8
CMSRU | FCU | Tri Pleat LX8LE | 8.25 | x | 29,75 | x | 1 | 19
CMSRU | FCU | Tri Pleat LX8LE | 9.25 | x | 21,75 | x | 1 | 3
CMSRU | FCU | Tri Pleat LX8LE | 10,25 | x | 18,75 | x | 1 | 1
CMSRU | FCU | Tri Pleat LX8LE | 15,75 | x | 25,75 | x | 1 | 2
CMSRU | FCU | Tri Pleat LX8LE | 16 | x | 20 | x | 1 | 2
CMSRU | FCU | Tri Pleat LX8LE | 16 | x | 20 | x | 4 | 14
CMSRU | FCU | Tri Pleat LX8LE | 18,25 | x | 20 | x | 4 | 1
CMSRU | FCU | Tri Pleat LX8LE | 20 | x | 20 | x | 4 | 3
CMSRU | FCU | Tri Pleat LX8LE | 20 | x | 24 | x | 2 | 3
CMSRU | FCU | Tri Pleat LX8LE | 14,25 | x | 22 | x | 1 | 146
CMSRU | FCU | Synthetic Throw Away | 21 | x | 21 | x | 1 | 12
CMSRU | FCU | Tri Dek 2 Ply Panel | 20 | x | 20 | x |  | 12
CMSRU | FCU | Synthetic Throw Away | 12 | x | 24 | x | 1 | 25
Camden Academic Building | AHU 1 -Basement | Tri Dek 4 Ply Link with Tac | 12 | x | 72 | x |  | 1 |  | 0
|  | Tri Dek 4 Ply Link with Tac | 24 | x | 72 | x |  | 1 |  | 0
|  | Syn Pac 65% | 12 | x | 24 | x | 22 | 3 |  | 0
|  | Syn Pac 65% | 24 | x | 24 | x | 22 | 3 |  | 0
0
Camden Academic Building | AHU 2 Stair Tower | Tri Dek 4 Ply Link with Tac | 24 | x | 80 | x |  | 2 |  | 0
|  | Ultra Xe Merv 13 | 20 | x | 24 | x | 12 | 8 |  | 0
0
Camden Academic Building | AHU 3 Stair Tower | Tri Dek 4 Ply Link with Tac | 12 | x | 72 | x |  | 1 |  | 0
|  | Tri Dek 4 Ply Link with Tac | 24 | x | 72 | x |  | 1 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 3 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 3 |  | 0
0
Camden Academic Building | AHU 4th Floor Roof access | Tri Dek 4 Ply Link with Tac | 24 | x | 54 | x |  | 1 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 1 |  | 0
|  | Ultra Xe Merv 13 | 20 | x | 24 | x | 12 | 2 |  | 0
0
Camden Academic Building | AHU 5th Floor Roof Access | Tri Dek 4 Ply Link with Tac | 24 | x | 54 | x |  | 1 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 1 |  | 0
|  | Ultra Xe Merv 13 | 20 | x | 24 | x | 12 | 1 |  | 0
|  | Ultra Xe Merv 13 | 24 | x | 24 | x | 12 | 1 |  | 0
0
Camden Academic Building | AHU 6 Penthouse | Tri Dek 4 Ply Link with Tac | 24 | x | 51 | x |  | 1 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 1 |  | 0
|  | Ultra Xe Merv 13 | 20 | x | 24 | x | 12 | 2 |  | 0
Camden Academic Building | AHU 7 Penthouse | Tri Dek 4 Ply Link with Tac | 24 | x | 51 | x |  | 1 |  | 0
|  | Ultra Xe Merv 13 | 12 | x | 24 | x | 12 | 1 |  | 0
|  | Ultra Xe Merv 13 | 20 | x | 24 | x | 12 | 2 |  | 0
0
Camden Academic Building Roof | Rheem1 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem2 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem3 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem4 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem5 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem6 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem7 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | Rheem8 | Tri Dek 4 Ply Panel | 16 | x | 25 | x |  | 2 |  | 0
Camden Academic Building Roof | McQuary 1 | Tri Pleat Ultra LX8LE MERV 9 | 17.5 | x | 17.5 | x | 2 | 6 |  | 0
Camden Academic Building Roof | McQuary2 | Tri Pleat Ultra LX8LE MERV 9 | 17.5 | x | 17.5 | x | 2 | 6 |  | 0